FIRE EMERGENCY PLAN FOR THE

TEMPORARY RESPONSIBLE PERSON

| Date and Time of Event | Room(s) in Use | Name of Hirers and Responsible assistants | Signature |
| --- | --- | --- | --- |

BEFORE THE EVENT OR FUNCTION, YOU SHOULD BE AWARE OF:-

| Item | Details | Tick when been made aware |
| --- | --- | --- |
| 1 | Fire protection systems in place:- Fire doors Fire exits and routes Fire equipment Lighting inside and outside lighting |  |
| 2 | Fire Alarm and detection system details:- Automatic fire detection system is installed Break glass alarm call points are on all exit routes |  |
| 3 | If the fire alarm sounds you will hear the fire alarm siren and see the strobe lights in the Main Hall flashing |  |
| 4 | If you discover a fire:- Close the door of the room Raise the alarm by operating the nearest call point Evacuate the building using the nearest available exit Call the Fire Brigade Provide assistance to persons with special needs – e.g. wheelchair users |  |
| 5 | Evacuate the building safely:- Keep your group together Co-operate with any instructions Report to the assembly point Report to the Fire Service on arrival Do no re-enter the building |  |
| 6 | The fire assembly point is:- The Car Park |  |
| 7 | Key points of the Emergency Plan are as follows:- Main entrance door to Kirkstead Road and inner lobby you MUST ensure both leaves of the door are unbolted if both the Bar and Committee Room are in use at the time |  |
| Item | Details | Tick When Complete |
| 8 | Arrangements provided for fighting fire:- Fire extinguishers and blankets are provided but take no personal risk Water extinguishers (all red) are provided for fires involving paper, wood, furnishing – Do not use on electrical fires or flammable liquids Foam spray extinguishers (red with cream label) are provided for fires involving paper, wood, furnishing and flammable liquids. Do not use on electrical fires Dry powder (red/black label) extinguishers provided are safe for use on all types of fire but may still reduce visibility |  |
| 9 | In case of the fire alarm operating please shut down all equipment that had been in use as you evacuate the building Any equipment that you have brought into the building Kitchen equipment if in use |  |
| 10 | Rules for kitchen use:- Shut of all cooker before leaving the building Follow displayed kitchen rules at all times |  |
| 11 | How to call the emergency services. The person in charge at all times should call the Fire Brigade The Full address is:- Pinxton Village Hall, 3 Kirkstead Road, Pinxton, Derbyshire NG16 6NA |  |
| 12 | Meet the Fire Service on arrival and report to them on the location of the fire and details of any persons needing their assistance |  |
| 13 | Show all helpers this document and ensure they are all familiar with it |  |
| 14 | Limitation on numbers of people. Maximum permitted number:- As per Entertainments Licence No.46 Main Hall 300 persons Small Hall 100 persons Bar 72 persons Maximum Capacity 300 persons |  |
| 15 | In an emergency please contact the Caretakers as soon as possible after you have called the Emergency Services Jeanette Allen 07961 083556 Pete Harris 07771 853031 |  |